### 1.1 Functionality

The Main Controller block provides this approved macro-purpose: Generate and receive Analog Domain control signals, perform DSP elaboration on ADC outputs, and write elaborated results to the defined addresses.

### 1.2 Supported functions and scope

- ADC coordination: Controls ADC sampling, end-of-conversion handling, calibration, and acquisition-data processing.

- Storage and buffering: Manages approved local buffering, storage, and data-access behavior.

- ECG processing: Coordinates ECG channel selection, acquisition sequencing, and result elaboration.

- Data routing: Formats and transfers elaborated measurement data through the approved FIFO or bus paths.

- BIA processing: Controls bio-impedance channel start-up, acquisition timing, and elaboration sequencing.

- Boot and firmware support: Coordinates approved local boot, firmware, and persistent-memory interactions.

- Power, clock, and reset control: Coordinates the approved local sequencing and control behavior.

- PPG processing: Orchestrates PPG frames, acquisition phases, compensation, averaging, and result handling.

- Interrupt handling: Aggregates, qualifies, or routes approved local interrupt and status events.

- GSR processing: Schedules GSR acquisitions and supports current-on/current-off result processing when configured.